## Cable schedule
Cable schedule
Yellow cells are for you to fill in. Free template from Deskely · deskely.com/resources/cable-schedule-template
Project |  |  |  |  | Area or system |  |  |  |  | Revision
Drawing references |  |  |  |  | Prepared by |  |  |  |  | Date
Status
Cable tag | From | From location | To | To location | Cable type | Voltage | Cores x size | Length (m) | Gland (from) | Gland (to) | Route | Pulled | Glanded | Termi-nated | IR tested | Remarks
PC-1001 | MCC-01 | Substation | P-1001A | Module 2 | XLPE/SWA/PVC | 0.6/1 kV | 3C x 35 mm² | 85 | Ex d | Ex e | Tray T-12 | Yes | Yes | No | No | Example
CC-1001 | MCC-01 | Substation | P-1001A LCS | Module 2 | Control | 300/500 V | 7C x 1.5 mm² | 90 | Ex d | Ex d | Tray T-14 | Yes | No | No | No | Example
IC-1001 | JB-101 | Module 2 | PT-1001 | Module 2 | Instrument, screened | 300 V | 1P x 1.5 mm² | 22 | Ex e | Ex d | Tray T-21 | No | No | No | No | Example