## MC certificate
Mechanical completion certificate
Yellow cells are for you to fill in. Free template from Deskely · deskely.com/resources/completion-certificate-template
Project |  | Contract number |  | Certificate number
System |  | Subsystem |  | Date
Description of the system or subsystem
Certification
This is to certify that the subsystem described above has been constructed, installed and inspected in accordance with the approved drawings, specifications and the contract; that all construction inspection and test records (A ITRs) are complete and signed; and that all category A punch items are closed. The open category B punch items are listed in the attached punch list and do not prevent safe pre-commissioning.
ATTACHED
Signed A ITR register
Punch list (category B items open)
Pressure test certificates
Redline (as-built) markups
OUTSTANDING ITEMS
Open punch items (number and categories)
Agreed completion date for open items
Exceptions or conditions
Sign-off | Name |  | Signature | Date
Construction
Commissioning
Client / owner

## RFC certificate
Ready for commissioning certificate
Yellow cells are for you to fill in. Free template from Deskely · deskely.com/resources/completion-certificate-template
Project |  | Contract number |  | Certificate number
System |  | Subsystem |  | Date
Description of the system or subsystem
Certification
This is to certify that the subsystem described above is mechanically complete; that all pre-commissioning activities and B ITRs are complete and signed; and that the subsystem is ready to be energised or filled with its working medium for commissioning. The open punch items are listed in the attached punch list.
ATTACHED
MC certificate
Signed B ITR register
Loop check and calibration records
Punch list (open items)
OUTSTANDING ITEMS
Open punch items (number and categories)
Agreed completion date for open items
Exceptions or conditions
Sign-off | Name |  | Signature | Date
Construction
Commissioning
Client / owner

## RFSU certificate
Ready for start-up certificate
Yellow cells are for you to fill in. Free template from Deskely · deskely.com/resources/completion-certificate-template
Project |  | Contract number |  | Certificate number
System |  | Subsystem |  | Date
Description of the system or subsystem
Certification
This is to certify that the system described above has been commissioned and tested in accordance with the approved commissioning procedures; that safety and control systems have been function tested; that the pre-startup safety review has been completed where required; and that the system is ready for start-up and the safe introduction of hydrocarbons or its process medium.
ATTACHED
RFC certificates for all subsystems
Commissioning procedures and test records
Cause and effect test records
PSSR report
Punch list (open items, none preventing start-up)
OUTSTANDING ITEMS
Open punch items (number and categories)
Agreed completion date for open items
Exceptions or conditions
Sign-off | Name |  | Signature | Date
Construction
Commissioning
Client / owner

## HO certificate
Handover certificate
Yellow cells are for you to fill in. Free template from Deskely · deskely.com/resources/completion-certificate-template
Project |  | Contract number |  | Certificate number
System |  | Subsystem |  | Date
Description of the system or subsystem
Certification
This is to certify that care, custody and control of the system described above passes from the contractor to the owner on the date below. The owner accepts the system subject to the outstanding items listed in the attached punch list, which the contractor will complete by the agreed dates. The completions dossier has been handed over.
ATTACHED
RFSU certificate
Completions (handover) dossier
Agreed punch list with dates
Spare parts and special tools list
Training records
OUTSTANDING ITEMS
Open punch items (number and categories)
Agreed completion date for open items
Exceptions or conditions
Sign-off | Name |  | Signature | Date
Contractor
Owner (accepts)
Operations