## Electrical installation inspect
Electrical installation inspection checklist
Yellow cells are for you to fill in. Free template from Deskely · deskely.com/resources/electrical-inspection-checklist
Project |  | Area or equipment | Drawing references
System / subsystem |  | Hazardous area zone | Inspection date
Progress
No. | Check | Result | Reference | By | Date
CABLES
1 | Cables to the cable schedule: type, size, route
2 | Segregation of power, control and instrument cables
3 | Bending radius respected; no damage to the sheath
4 | Supported and cleated to the specification
5 | Labelled at both ends
GLANDS AND TERMINATIONS
6 | Gland type, size and Ex rating correct
7 | Armour and screen earthed as specified
8 | Terminations tight; ferrules and core markers fitted
9 | Unused entries blanked with certified plugs
EQUIPMENT
10 | Mounted securely and level
11 | IP rating suits the location
12 | Ex marking and certificate match the area classification
13 | Labels and danger signs fitted
EARTHING AND BONDING
14 | Equipment and structures bonded to the earthing system
15 | Earth bars and connections tight and labelled
16 | Earthing test done (see earthing test report)
SWITCHBOARDS AND PANELS
17 | Clean inside; no tools or debris
18 | Busbar and power connections torqued
19 | Mechanical interlocks and shutters work
20 | Single line diagram and labels in place
RECORDS
21 | Insulation resistance tests done
22 | Cable schedule and drawings redlined
Sign-off |  | Name | Company | Signature | Date
Contractor QC
Client